## Sheet1
Raw Data
| No Facade | Blinds at 45° | Blinds at 90° | Blinds at 0 ° | Adaptive Soalr Facade | Savings |  | Compare to No facade
Heating raw energy(GJ) | 4.64 | 5.288 | 4.76 | 5.288 | 4.696 | 0.592 | 11.2% | -0.056 | -1.207%
Cooling (GJ) | 13.5 | 4.53 | 4.1 | 4.52 | 2.39 | 2.14 | 47.24% | 11.11 | 82.3%
Lighting (GJ) | 1.56 | 1.65 | 1.6 | 1.65 | 1.6 | 0.05 | 3.03% | -0.04 | -2.564%
Cooling(tons-R) | 1066.2975 | 357.8021 | 323.8385 | 357.0122 | 188.7742 | 169.0279 | 47.24% | 877.5233 | 82.3%
Total | 19.7 | 11.468 | 10.46 | 11.458 | 8.686 | 2.782 | 24.26% | 11.014 | 55.91%
Processed
Heating COP4 | 322.2222 | 367.2222 |  |  | 326.1111
Cooling COP3 | 1250 | 419.4444 |  |  | 221.2963
Lighting LED | 118.0745 | 124.8865 |  |  | 121.102
Total | 1690.2967 | 911.5531 |  |  | 668.5094
Note on A13: Prageeth Jayathissa: No pump costs

## Electricity generation
| Active ASF | Static ASF | Flat mounted CIGS | Flat mounted CdTe | Flat mounted PolySi
South Facade Receives | 966 | 966 | 966 | 966 | 966 | kWh/m2/year
Panel Gap Fraction | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | m
Panel Size | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | m
Total area including gap | 0.20794 | 0.20794 | 0.20794 | 0.20794 | 0.20794 | m2
PV Panel Coverage | 0.1444 | 0.1444 | 0.1444 | 0.1444 | 0.1444 | m2
utility factor | 0.69444 | 0.69444 | 0.69444 | 0.69444 | 0.69444 | m2/m2
Angle losses | 1 | 0.7 | 0.6153 | 0.6153 | 0.6153
Irradtion on active PV | 670.8333 | 469.5833 | 412.7637 | 412.7637 | 412.7637 | kWh/m2/year
Efficiency | 0.11 | 0.11 | 0.11 | 0.1 | 0.14
Power before shading and bad angle losses | 73.7917 | 51.6542 | 45.404 | 41.2764 | 57.7869 | kwH/m2/year
Total Facade Area | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | m2
self shading loss | 0.6 | 0.6 | 1 | 1 | 1
Losses due to suboptimal solar tracking angle | 0.77 | 1 | 1 | 1 | 1
Total Power (kWh/year) | 518.1946 | 471.086 | 690.141 | 627.4009 | 878.3613 | kWh/year
ASF
Total Irradiation (kWh/m2/year) | 966
Utility Factor (m2/m2) | 0.69444
Losses from sub optimal angle | 0
Irradation of active PV (kWh/m2/year) | 670.8333
Efficiency | 0.11
Self Shading Losses | 0.4
Losses due to sub optimal tracking angle | 0.77
\textbf{Total Power (kWh/year)} | 518.1946